- Introduction: “this teaching is all about the whole team recognising different capnography traces and understanding the importance of Sustained Exhaled Carbon Dioxide”

# Talk through the capnography teaching sheet (attached), explaining:

  - We should ideally see a capnography trace with a row of ‘top hats’ – this suggests a patent airway

  - Good Hats (Green capnograph waveforms) = no action required: “Posh hats are best in Bath!”

    - Top Hat (patent airway)

    - Ascot Hat (patent airway but likely bronchospasm/airflow limitation)

  - Bad Hats on (Red Capnograph waveforms) = action needed

    - Dunce Hat (likely leak around the tracheal tube) = urgent action unless using an uncuffed tracheal tube

    - No Hat = emergency action required

      - Actively rule out oesophageal intubation: remove the tube unless dangerous and ventilate with facemask or supraglottic airway

      - Other explanations include:

        - blockage/kinking/disconnection/displacement of tracheal tube/tracheostomy or ventilator tubing

        - blockage/kinking/disconnection of capnography tubing

        - lack of ventilation

        - severe bronchospasm

      - If not safe to remove the tube

        - Identify position using repeat videolaryngoscopy by 2 people AND one of

          - bronchoscopy to visualise the tracheal rings/carina

          - expert ultrasound

          - use of an oesophageal detection device

  - “Sustained Exhaled Carbon Dioxide” – if the capnograph doesn’t meet the below criteria oesophageal intubation should be actively excluded.

    - Waveform rises in expiration and falls in inspiration

- Consistent or increasing amplitude over at least 7 breaths

- A peak amplitude of greater than 1.5 kPa (7.5 mmHg) above baseline

- The reading should be clinically appropriate.

  - Use of Capnography in CPR – we should still see a capnograph wave during CPR for

a cardiac arrest if an airway and capnography is correctly sited, although it may have an attenuated shape (as shown in the teaching guide). If the features of sustained exhaled carbon dioxide are not seen in cardiac arrest then oesophageal intubation should be actively excluded.

# All members of the anaesthetic team should be able to recognise the different shapes

  - Following intubation, there should be 7 or more ‘top hats’ (“sustained exhaled carbon dioxide”) – and if not please raise your concerns with your anaesthetist/team

- Thank you and any questions? - Feedback forms, register and treats!

# Introduce yourselves and explain what is being taught

  - Training on the use of and importance of capnography traces

  - What is capnography? A wave form generated by measuring the amount of CO2 exhaled by a patient over time. The waveforms can give us useful information about the quality of the airway in place

# Why?

  - Important safety update and awareness drive

  - Recently highlighted following the case of Glenda Logsdail, a retired radiographer who died in 2020: unrecognised oesophageal intubation resulted in a prolonged period of hypoxia and subsequent irreversible hypoxic brain injury and death

  - Drive from the RCoA, DAS, SALG and Association of Anaesthetists to improve care

  - Failure to use capnography in patients dependent on an artificial airway contributed to more than 70% of ICU-related airway deaths in NAP4

  - The goal is to prevent instances of unrecognised oesophageal intubation

# Capnography Hats

Using the Teaching sheet as a visual guide for the learners:

  - Good Hats – Top Hat and Ascot Hat

  - Bad Hats – Dunce Hat and Flat Cap

  - “Sustained Exhaled Carbon Dioxide” – if the capnograph trace does not meet sustained exhaled carbon dioxide criteria oesophageal intubation should be actively excluded. Remove the TT and ventilate via SGA or FM

  - Use of Capnography in CPR – we should still see a capnograph wave during CPR for

a cardiopulmonary arrest if an airway and capnography is correctly sited, although it may have an attenuated shape (as shown in the teaching guide)

# Quiz Time!

  - Flash a waveform and have the recipients call out if the waveform is ‘good’ or ‘bad’ and award bonus points if they can tell us what the cause for that trace may be

  - Extra Quiz cards - to engage those members of staff with more knowledge regarding capnography traces

# What to do if you spot a bad hat or even no hat?

  - All team members should feel empowered to raise this with the person managing the airway

  - Follow the guideline to rule out oesophageal intubation: Actively rule out oesophageal intubation, remove the tube unless dangerous and ventilate with facemask or supraglottic airway

# Thank you!

  - Treats and registers/feedback forms

We found that encouraging the learners to wear one of the hats while delivering the teaching, and/or acting out the shapes of the hats with their arms, was a great way to help engage everyone and anchor the teaching in their memory!